Work at Height Regulations 2005

### SCAFFOLD INSPECTION REPORT

Report of results of every inspection made in pursuance of regulation 12 & 13

| (1) Name & Address of the company/person on whose behalf the inspection was carried out: Apollo Scaffolding | (2) Location of the place of work inspected (Site Address): Aberavon House, Port Talbot |
| --- | --- |
| Description (3) | Date & Time (4 & 11) | Matters identified (5) | Can work be carried out safety? (6) Yes/No | Reported To (7) | Remedial Action (8 & 9) | Inspectors Name (10) |
| Scaffold AS 254 Hoist Area adjacent to Front and South Elevations | 27-3-2018 | 10:45-14:15 | Passed with observations | Yes | C.Jones | Scaffold materials to be moved from Working Lifts at earliest opportunity in order to create greater access. | D.Murray |

When recording the results of an inspection use as many lines as are necessary.